**Question and Answers**

RFP18/2022: Appointment of service providers for the maintenance of diesel generators at SARS

|  |  |
| --- | --- |
| **Question** | **Answer** |
| 1. Can you kindly provide us with the maintenance plan/history/register of all the generators in the scope
 | The Maintenance plan and register of all generators is included in the BRS and the Tender Document.  |
| 1. Do we quote for both software and hardware?
 | This will be done on a quotation basis when needed. |
| 1. Is there an already existing online monitoring for all the generators?
 | Yes |
| 1. If there is an existing online monitoring, can you kindly provide us with the name and model
 | DSEWEBNET.COM |