Question and Answers

RFP18/2022: Appointment of service providers for the maintenance of diesel generators at SARS

| Question | Answer |
| --- | --- |
| - Can you kindly provide us with the maintenance plan/history/register of all the generators in the scope | The Maintenance plan and register of all generators is included in the BRS and the Tender Document. |
| - Do we quote for both software and hardware? | This will be done on a quotation basis when needed. |
| - Is there an already existing online monitoring for all the generators? | Yes |
| - If there is an existing online monitoring, can you kindly provide us with the name and model | DSEWEBNET.COM |