## Final Summary
BoQ 9.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 9
COLLECTION SHEET SUMMARY
ITEM | DESCRIPTION | SUB TOTAL
R c
1 | Preliminary and General (Total of BoQ 1) | 0
2 | Main & Sub Main Electrical Distribution (Total of BoQ 2) | 0
3 | Electrical : Lighting Installation (Total of BoQ 3) | 0
4 | Electrical: Power Installation (Total of BoQ 4) | 0
5 | Electrical: Telephone & Data (Total of BoQ 5) | 0
6 | Electrical : Fire Detection Installation (Total of BoQ 6) | 0
7 | Electrical : Public Address Installation (Total of BoQ 7) | 0
8 | Electrical : Access Control & CCTV Security System (Total of BoQ 8) | 0
| TOTAL PROJECT SUM | 0

## Collection Sheets
BOQ1.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 1
PRELIMINARY & GENERAL ITEMS
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 1.1 | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0
BOQ2.5
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 2
ELECTRICAL : MAIN AND SUB-MAIN DISTRIBUTION
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 2.1 | 0 | 0
1.2 | BoQ.Page 2.2 | 0 | 0
1.3 | BoQ.Page 2.3 | 0 | 0
1.4 | BoQ.Page 2.4 | 0 | 0
|  | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0
BOQ3.3
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 3
ELECTRICAL: LIGHTING INSTALLATION
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 3.1 | 0 | 0
1.2 | BoQ.Page 3.2 | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0
BOQ4.5
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 4
ELECTRICAL: POWER INSTALLATION
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 4.1 | 0 | 0
1.2 | BoQ.Page 4.2 | 0 | 0
1.3 | BoQ.Page 4.3 | 0 | 0
1.4 | BoQ.Page 4.4 | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0
BOQ5.4
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 5
ELECTRICAL: TELEPHONE & DATA INSTALLATION
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 5.1 | 0 | 0
1.2 | BoQ.Page 5.2 | 0 | 0
1.3 | BoQ.Page 5.3 | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0
BOQ6.4
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 6
ELECTRICAL: FIRE DETECTION INSTALLATION
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 6.1 | 0 | 0
1.2 | BoQ.Page 6.2 | 0 | 0
0
1.3 | BoQ.Page 6.3 | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0
BOQ7.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 7
ELECTRICAL: PUBLIC ADDRESS INSTALLATION
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 7.1 | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0
BOQ8.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 8
ELECTRICAL: ACCESS CONTROL & CCTV SECURITY SYSTEM
COLLECTION SHEET
ITEM | DESCRIPTION | MATERIAL | LABOUR
|  | R c | R c
Sub-Totals from:
1.1 | BoQ.Page 8.1 | 0 | 0
| SUB TOTALS | 0 | 0
| SUB TOTAL MATERIAL |  | 0
| SUB TOTAL LABOUR |  | 0
TOTAL TO FINAL SUMMARY |  |  | 0

## BILL 1
BoQ 1.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO : 1
PRELIMINARY AND GENERAL ITEMS
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
1 | Allow for costs for provision of Surety or Letter of Guarantee to cover 10% of Electrical Contract Amount. | Sum | 1 | 0 | 0 |  | 0
2 | Allow for premium costs incurred for insurances and sureties. | Sum | 1 |  | 0 |  | 0
3 | Allow for transport & travelling. | Month | 8 |  | 0 |  | 0
4 | Allow for First Commission Testing & Hand Over Training of the installation as detailed in the Specification. | Sum | 1 |  | 0 |  | 0
5 | Allow for 12 month guarantee of Site Installation as per Specification. | Sum | 12 | 0 | 0 |  | 0
6 | Allow for Final Commission Testing & Hand Over on 12 Month Guarantee Period Completion per Specification. | Sum | 1 |  | 0 |  | 0
7 | Allow for co-ordination & planning for scaffolding, lifting gear, cranes, etc. to be provided by Main Contractor where required for stripping of existing electrical services, positioning, installation & commissioning of new electrical services at high level to the site. | Sum | 1 | 0 | 0 |  | 0
8 | Allow for costs incurred for provision of Surety to cover payment for any unfixed materials on site as per main contract conditions. | Sum | 1 |  | 0 |  | 0
9 | Allow for liaison with Client to arrange access, shut-down and all things necessary for electrical supply modifications to be carried out where necessary. | Sum | 1 |  | 0 |  | 0
10 | Operate and maintain site facilities:
10.1 | Office / Ablutions / Storage | Month | 8 |  | 0 |  | 0
11 | Allow for compliance with OHS Act Construction Regulations. | Month | 8 |  | 0 |  | 0
12 | Survey, document, label & maintain existing conduit and cabling for re-use. Architectural drawings provided for redline mark up recording purposes at no additional cost. | Sum | 1 |  | 0 |  | 0
13 | Strip out & remove redundant electrical equipment, packaging & handing over all removed equipment to Dept. Public Works. | Sum | 1 |  | 0 |  | 0
0
TOTALS BILL 1 |  |  |  |  | 0 |  | 0

## BILL 2
BoQ 2.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 2
ELECTRICAL : MAIN AND SUB-MAIN DISTRIBUTION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
1 | MAIN DISTRIBUTION BOARD
1.1 | De-commission, make safe, strip out & remove existing Circuit Breakers to SARS Area in MDB complete. Package & deliver to Dept. Of Public Works or as agreed in writing. | Sum | 3
1.2 | Test & Certify Existing MDB Earth & Submit Report. | Sum | 1
2 | SUB-DISTRIBUTION BOARDS - STRIP & REMOVE
De-commission, make safe, strip out & remove existing electrical Sub-DB's & equipment complete and deliver to Dept. Of Public Works or as agreed in writing :-
0
2.1 | SDB-G3 Ground Floor (Flush - Existing) | Sum | 1 |  | 0 |  | 0
2.2 | SDB-G4 Ground Floor (Flush - Existing) | Sum | 1 |  | 0 |  | 0
2.3 | SDB-G5 Ground Floor (Flush - Existing) | Sum | 1 |  | 0 |  | 0
2.4 | Direct On Line Motor Starter Units | No | 6 |  | 0 |  | 0
2.5 | Removal of add-hoc items from other electrical distribution boards as necessary as follows:-
2.5.1 | Make Safe, Strip & Remove 5A SP MCB | No. | 2 |  | 0 |  | 0
2.5.2 | Make Safe, Strip & Remove 10A SP MCB | No. | 6 |  | 0 |  | 0
2.5.3 | Make Safe, Strip & Remove 15A SP MCB | No. | 8 |  | 0 |  | 0
2.5.4 | Make Safe, Strip & Remove 10A TP MCB | No. | 1 |  | 0 |  | 0
2.5.5 | Make Safe, Strip & Remove 40A TP MCB | No. | 1
2.5.6 | Make Safe, Strip & Remove 60A TP MCB | No. | 1 |  | 0 |  | 0
2.5.7 | Make Safe, Strip & Remove 100A TP MCB | No. | 1 |  | 0 |  | 0
2.5.8 | Make Safe, Strip & Remove 150A TP MCCB | No. | 1 |  | 0 |  | 0
2.5.9 | Make Safe, Strip & Remove Contactor | No. | 12 |  | 0 |  | 0
2.5.10 | Strip & Remove Circuit Cabling, Conduit, Outlet Boxes, Isolators etc.in Warehouse associated with above removed and redundant power and control equipment. | Lot | 42 |  | 0 |  | 0
| Totals to collection: Bill 2.1 |  |  |  | 0 |  | 0
BOQ2.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 2
ELECTRICAL : MAIN AND SUB-MAIN DISTRIBUTION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
3 | SUB_DISTRIBUTION BOARDS - NEW | [5 empty] | 0
Supply, installation, connection, commissioning & certification of Sub-DB's complete as follows:-
3.1 | SDB-G3 Ground Floor (Refer 6352/E/SCH01) | Sum | 1 |  | 0 |  | 0
3.2 | SDB-G4 Ground Floor (Refer 6352/E/SCH02) | Sum | 1 |  | 0 |  | 0
3.3 | SDB-G5 Ground Floor (Refer 6352/E/SCH03) | Sum | 1 |  | 0 |  | 0
3.4 | SDB-Computer Server Room Ground Floor (Refer 6352/E/SCH04) | Sum | 1 |  | 0 |  | 0
3.5 | Supply & install new equipment to add-hoc electrical distribution boards and areas. (Existing - Selected new internals to be installed complete with suitable flexible cable tails, ring lugs or ferrule ends and busbar connections complete as necessary as follows:- ) | Sum | 1 |  | 0 |  | 0
3.5.1 | 5A / 10A / 16A 6kA Rated (Curve 2) Single Pole MCB. | No. | 12 |  | 0 |  | 0
3.5.2 | 20A 6kA Rated (Curve 1) Single Pole MCB | No. | 2 |  | 0 |  | 0
3.5.3 | 63A 6kA Rated Single Pole & Neutral Earth Leakage Unit with Overload. | No. | 4 |  | 0 |  | 0
3.5.4 | 10A 6kA Rated (Curve 1) Triple Pole MCB | No. | 2 |  | 0 |  | 0
3.5.5 | 50A 6kA Rated (Curve 1) Triple Pole MCB | No. | 2 |  | 0 |  | 0
3.5.6 | 100A 6kA Rated (Curve 1) Triple Pole MCB. | No. | 3 |  | 0 |  | 0
3.5.7 | 100A 25kA Rated (Mixed Load) Triple Pole Moulded Case Circuit Breaker. | No. | 3 |  | 0 |  | 0
3.5.8 | 12A AC3 Rated Triple Pole Contactor. | No. | 4 |  | 0 |  | 0
3.5.9 | Thermal Overload (0.37kW - 0.55 kW Adjustable) | No. | 4 |  | 0 |  | 0
3.6 | Earthing & Bonding of SDB's complying with the requirements of SANS10142. | Sum | 4 |  | 0 |  | 0
3.7 | Issue Certificate of Compliance for each SDB in compliance with SANS10142. | No. | 4 |  | 0 |  | 0
3.8 | Labelling of electrical supply cable to each electrical sub-distribution board at origin and termination points to Dept. Public Works Electrical Specification. | No. | 8 |  | 0 |  | 0
| Totals to collection: Bill 2.2 |  |  |  | 0 |  | 0
BOQ2.3
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 2
ELECTRICAL : MAIN AND SUB-MAIN DISTRIBUTION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
4 | LV ARMOURED CABLES & TERMINATIONS | [5 empty] | 0
Supply, install, connect & lable at required intervals the following multi-core pvc insulated steel wire armoured cables specified:-
4.1 | LV Stranded Copper Cables
4.1.1 | 95 mm² x 4 core | m | 50 |  | 0 |  | 0
4.1.2 | 25 mm² x 4 core | m | 500 |  | 0 |  | 0
4.1.3 | 16 mm² x 4 core | m | 60 |  | 0 |  | 0
4.1.4 | 10 mm² x 4 core | m | 400 |  | 0 |  | 0
4.2 | LV Cable Terminations including Cable Glands | [5 empty] | 0
4.2.1 | 95 mm² x 4 core | No. | 2
4.2.2 | 25 mm² x 4 core | No. | 8
4.2.3 | 16 mm² x 4 core | No. | 4
4.2.4 | 10 mm² x 4 core | No. | 20
5 | EARTH CONDUCTORS & TERMINATIONS
Supply, install and connect up the following PVC insulated earth conductors with cables measured above.
5.1 | Earth Conductor
5.1.1 | 25 mm² | m | 200 |  | 0 |  | 0
5.1.2 | 16 mm² | m | 180 |  | 0 |  | 0
5.1.3 | 10 mm² | m | 500 |  | 0 |  | 0
5.1.4 | 6.0 mm² | m | 460 |  | 0 |  | 0
5.2 | Earth Conductor Terminations
5.2.1 | 25 mm² | No. | 4 |  | 0 |  | 0
5.2.2 | 16 mm² | No. | 6 |  | 0 |  | 0
5.2.3 | 10 mm² | No. | 22 |  | 0 |  | 0
5.2.4 | 6.0 mm² | No. | 24 |  | 0 |  | 0
| Totals to collection: Bill 2.3 |  |  |  | 0 |  | 0
BOQ2.4
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 2
ELECTRICAL : MAIN AND SUB-MAIN DISTRIBUTION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
7 | CONDUIT & WIREWAYS
Supply and install u-PVC conduit surface mounted, cast in concrete or chased in brickwork with allowance for wastage, off-cuts, bends, sets, saddles, adaptors, etc. (Outlet boxes measured elsewhere).
7.1 | Installed Surface
7.1.1 | 32 mm Diameter | m | 40 |  | 0 |  | 0
7.1.2 | 40 mm Diameter | m | 60 |  | 0 |  | 0
7.1.3 | 50 mm Diameter | m | 90 |  | 0 |  | 0
7.2 | Chased in brickwork
7.2.1 | 32 mm Diameter | m | 60 |  | 0 |  | 0
7.2.2 | 40 mm Diameter | m | 60 |  | 0 |  | 0
7.2.3 | 50 mm Diameter | m | 80 |  | 0 |  | 0
7.3 | Excavated & Buried to 500mm Depth
7.3.1 | 32 mm Dia. | m | 0 |  | 0 |  | 0
8 | Welded Wire Mesh Tray & Accessories
Welded Wire Mesh hot dipped galvanised cable tray (50mm a 100mm pitch) supplied and installed complete with all mounting brackets, hangers, supports, etc.
8.1 | Cable Tray
8.1.1 | 200mm Wide Medium Duty | m | 30 |  | 0 |  | 0
8.1.2 | 150mm Wide Medium Duty | m | 90 |  | 0 |  | 0
8.1.3 | 100mm Wide Medium Duty | m | 60 |  | 0 |  | 0
8.2 | Horizontal Bends
8.2.1 | 200mm Wide Medium Duty | No | 4 |  | 0 |  | 0
8.2.2 | 150mm Wide Medium Duty | No | 4 |  | 0 |  | 0
8.2.3 | 100mm Wide Medium Duty | No | 6 |  | 0 |  | 0
9 | Dedicated Earth
Supply & install dedicated earthing arrangment for Computer Server Room :-
9.1.1 | Earth Mat sufficient for earth resistance of 1.0 ohm or less. | No. | 1 |  | 0 |  | 0
9.1.2 | Earth Bar 20mm x 5mm x 200mm Mounted on Insulators with 9 off M6 threaded fixing holes. | No. | 1 |  | 0 |  | 0
| Totals to collection: Bill 2.4 |  |  |  | 0 |  | 0
TOTALS BILL 2 |  |  |  |  | 0 |  | 0

## BILL 3
BoQ 3.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 3
ELECTRICAL : LIGHTING INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
1 | LIGHTING INSTALLATION
Supply and install light fittings, as specified, complete with lamps and electronic control gear.
1.1 | Type A (Surface 2 x 18W IP66 Rated Bulkhead) | No | 12 |  | 0 |  | 0
1.2 | Type B (Surface 1 x 18W IP66 Rated Bulkhead) | No | 14 |  | 0 |  | 0
1.3 | Type C (IP66 Rated LED Wide Beam Floodlight 15,000 Lumen) | No | 4 |  | 0 |  | 0
1.4 | Type E (LED Exit Sign 60 minute battery backup) | No | 14 |  | 0 |  | 0
1.5 | Type F1 (Surface 2 x 28W Fluorescent Prismatic) | No | 30 |  | 0 |  | 0
1.6 | Type F2 (Vapor Proof IP65 2 x 28W Fluorescent) | No | 66 |  | 0 |  | 0
1.7 | Type F3 (Vapour Proof IP66 2 x 28W Fluorescent - Ex emd II T4 Zone 1 Certified) | No | 6 |  | 0 |  | 0
1.8 | Type F4 (Surface 4 x 54W T Bay Fluorescent) | No | 90 |  | 0 |  | 0
1.9 | Type F5 (Recessed 3 x 28W T5 Fluorescent Hinged Prismatic (1,200mm x 600mm) | No | 28 |  | 0 |  | 0
1.2 | Supply & install flush mounted light switches (Crabtree Classic), c/w 100 x 50 x 50 galvanised steel drawbox, cover plate and chasing in of boxes as required.
1.2.1 | 16A single lever 1 way | No | 20 |  | 0 |  | 0
1.2.2 | 16A dual lever 1 way | No | 4 |  | 0 |  | 0
1.2.3 | 16A single lever 2 way | No | 4 |  | 0 |  | 0
1.3 | 6A Unswitched Lighting Socket Outlet installed in Roundbox. | No | 118 |  | 0 |  | 0
1.4 | Wall Mounted Outdoor IP 67 Photocell | No | 2 |  | 0 |  | 0
1.5 | Occupancy Sensor (Legrand DT-355 or equal) | No | 8 |  | 0 |  | 0
1.6 | Identify existing Lighting Circuits : Extent of Circuit Wiring, Wiring Size & Condition, Number & Location of Outlet Points to Warehouse Area. | Sum | 1 |  | 0 |  | 0
1.7 | Document Lighting Circuits : Location, Circuits, Wiring Sizes, Outlets to Warehouse Area on supplied paper drawings. | Sum | 1 |  | 0 |  | 0
[5 empty] | 0 |  | 0
1.8 | Remove Lamps / Light Fittings & Insulation Test existing Lighting Circuits (including Earth Wire) & Outlets & Confirm Results in Typed Report. | Sum | 1 |  | 0 |  | 0
| Totals to Collection: Bill 3.1 |  |  |  | 0 |  | 0
BoQ 3.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 3
ELECTRICAL : LIGHTING INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
2 | CONDUIT & WIREWAYS
Supply & install uPVC conduit surface or chased in brickwork with allowance for wastage, off-cuts, bends, sets, adaptors, etc. (Outlet boxes measured elsewhere).
2.1 | Surface Mounted
2.1.1 | 20mm Dia. | m | 1600 |  | 0 |  | 0
2.1.2 | 25mm Dia. | m | 340 |  | 0 |  | 0
2.2 | Chased in brickwork
2.2.1 | 20mm Dia. | m | 180 |  | 0 |  | 0
2.2.2 | 25mmDia. | m | 120 |  | 0 |  | 0
2.3 | Supply & install galvanised steel trunking c/w snap-on galvanised steel cover, threaded suspension rods & strirrup / saddles, colour identifier band Red at 3m intervals & at penetrations.
2.3.1 | P2000 Trunk suspended from concrete slab or surface c/w covers | m | 600 |  | 0 |  | 0
2.3.2 | 90 Degree Elbow Bend | No | 12 |  | 0 |  | 0
2.3.3 | 90 Degree Inside / Outside Bend | No | 6 |  | 0 |  | 0
2.3.4 | T-Piece | No | 12 |  | 0 |  | 0
2.3.5 | P2000 End Cap | No | 18 |  | 0 |  | 0
3 | Supply and install conduit boxes
3.1 | Round Bosal box flush mounted in wall for light fittings including chasing. | No | 28 |  | 0 |  | 0
3.2 | Round Bosal box surface mounted in ceiling space for light fittings or 6A socket outlets. | No | 148 |  | 0 |  | 0
4 | WIRING
4.1 | Supply & install PVC insulated copper conductors drawn into wireways measured elsewhere.
4.1.1 | 1.5mm2 | m | 9000 |  | 0 |  | 0
4.1.2 | 2.5mm² 3 Core Cu PVCAS | m | 540 |  | 0 |  | 0
4.1.3 | 1.5mm2 Insulated Earth Wire | m | 4500 |  | 0 |  | 0
4.1.4 | 4mm² x 3 Core Cu PVCAS | m | 168 |  | 0 |  | 0
| Totals to Collection: Bill 3.2 |  |  |  | 0 |  | 0
TOTALS BILL 3 |  |  |  |  | 0 |  | 0

## BILL 4
BoQ 4.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 4
ELECTRICAL: POWER INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
|  |  | QTY | RATE | TOTAL | RATE | TOTAL
1 | POWER INSTALLATION
Supply & install power outlets,(Clipsal S2000 Range), including 100x100x50 flush mounted uPVC draw box and chasing in, or surface mounted uPVC box, with cover plates.
1.1 | 16A normal single switched socket outlet - flush | No | 24 |  | 0 |  | 0
1.2 | 16A double switched socket outlet - flush | No | 8 |  | 0 |  | 0
1.3 | 16A single Shuko 2 pin switched socket outlet - flush | No | 2 |  | 0 |  | 0
1.4 | 16A combination single switched socket outlet & Shuko switched socket outlet - flush | No | 4 |  | 0 |  | 0
1.5 | 16A single switched socket outlet - surface | No | 12 |  | 0 |  | 0
1.6 | 16A double switched socket outlet - surface | No | 2 |  | 0 |  | 0
1.7 | 16A dedicated single switched socket outlet - flush | No | 4 |  | 0 |  | 0
1.8 | 16A dedicated double switched socket outlet - flush | No | 2 |  | 0 |  | 0
1.9 | 16A dedicated switched socket outlet - on powerskirting | No | 24 |  | 0 |  | 0
1.1 | 16A dedicated single switched socket outlet - surface | No | 12 |  | 0 |  | 0
1.11 | 32A DP Flush Mounted Isolator | No | 2 |  | 0 |  | 0
1.12 | 63A DP Flush Mounted Isolator | No | 1 |  | 0 |  | 0
1.13 | 16A DP Surface Mounted Rotary Isolator IP65 Rated | No | 12 |  | 0 |  | 0
1.14 | 32A DP Surface Mounted Rotary Isolator IP65 Rated | No | 2 |  | 0 |  | 0
1.15 | 63A DP Surface Mounted Rotary Isolator IP65 Rated | No | 1 |  | 0 |  | 0
1.16 | 16A TP Surface Mounted Rotary Isolator IP65 Rated | No | 14 |  | 0 |  | 0
1.17 | 32A TP Surface Mounted Rotary Isolator IP65 Rated | No | 6 |  | 0 |  | 0
1.18 | 63A TP Surface Mounted Rotary Isolator IP65 Rated | No | 1 |  | 0 |  | 0
1.19 | 32A Industrial Single Phase Switched Socket Outlet supplied with Matching Plug to fit | No | 4 |  | 0 |  | 0
1.2 | 16A Outdoor Switched Socket Outlet in IP66 Enclosure (Legrand Part No. 6846 38 or Equal Approved) & Socket Complete | No | 4 |  | 0 |  | 0
1.21 | Identify existing Power Circuits : Extent of Circuit Wiring, Wiring Size & Condition, Number & Location of Outlet Points based on drawings made available. | Sum | 1 |  | 0 |  | 0
1.22 | Document Power Circuits : Extent & Location of Circuit Wiring, Wiring Sizes, Number & Location of Outlet Points on supplied drawings. | Sum | 1 |  | 0 |  | 0
[5 empty] | 0 |  | 0
1.23 | Insulation Test existing Power Circuits (including Earth Wire) & Outlets & Confirm Results in Typed Report. | Sum | 1 |  | 0 |  | 0
[5 empty] | 0 |  | 0
| Totals to Collection: Bill 4.1 |  |  |  | 0 |  | 0
BoQ 4.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 4
ELECTRICAL: POWER INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
2 | CONDUIT & WIREWAYS
Supply and install uPVC conduit surface mounted, cast in concrete or chased in brickwork with allowance for wastage, off-cuts, bends, sets, adaptors, etc. (Outlet boxes measured elsewhere).
2.1 | Cast in Concrete
2.1.1 | 20mm Dia. | m | 48 |  | 0 |  | 0
2.1.2 | 25mm Dia | m | 154 |  | 0 |  | 0
0
2.1.3 | 32mm Dia. | m | 154 |  | 0 |  | 0
2.2 | Chased in brickwork
2.2.1 | 20mm Dia. | m | 420 |  | 0 |  | 0
2.2.2 | 25mm Dia | m | 340 |  | 0 |  | 0
2.2.3 | 32mm Dia. | m | 290 |  | 0 |  | 0
2.3 | Surface Mounted
2.3.1 | 20mm Dia | m | 560 |  | 0 |  | 0
2.3.2 | 25mm Dia | m | 300 |  | 0 |  | 0
2.3.3 | 32mm Dia. | m | 600 |  | 0 |  | 0
3 | Spare conduit boxes flush mounted in wall with blank cover plate, including chasing as required
3.1 | 100x50x50 mm | No | 44 |  | 0 |  | 0
3.1 | 100x100x50 mm | No | 26 |  | 0 |  | 0
4 | Powerskirting |  |  |  | 0 |  | 0
Galvanised Steel 2 Compartment Power Skirting (Cabstrut N8 / P801) powder coated Motorcraft Grey (to be confirmed by Architect) supplied & installed complete with covers, etc.
4.1 | 2 Compartment Power Skirting & Covers | m | 129 |  | 0 |  | 0
4.2 | 2 Compartment Inside / Outside Bend | No. | 28 |  | 0 |  | 0
4.3 | 2 Compartment Power Skirting End Cap | No. | 16 |  | 0 |  | 0
4.4 | Under-Desk Powerset Box ELEC-PB-01 & 2 x 3m Flyleads (Design4 GRID Range or MULTIBOX POWER SET to SARS Specification) | No. | 4 |  | 0 |  | 0
4.5 | Under-Desk Powerset Box ELEC-PB-02 & 2 x 3m Flyleads (Design4 GRID Range or MULTIBOX POWER SET to SARS Specification) | No. | 2 |  | 0 |  | 0
4.6 | Under-Desk Powerset Box ELEC-PB-03 & 2 x 3m Flyleads (Design4 GRID Range or MULTIBOX POWER SET to SARS Specification) | No. | 12 |  | 0 |  | 0
| Totals to Collection: Bill 4.2 |  |  |  | 0 |  | 0
BoQ 4.3
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 4
ELECTRICAL: POWER INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
5 | Welded Wire Mesh Cable Tray and Accessories
Welded Wire Mesh hot dipped galvanised cable tray supplied and installed complete with all mounting brackets, hangers, supports, etc.
5.1 | Cable Tray
5.1.1 | 200mm Wide Medium Duty | m | 36 |  | 0 |  | 0
5.1.2 | 150mm Wide Medium Duty | m | 120 |  | 0 |  | 0
5.1.3 | 100mm Wide Medium Duty | m | 90 |  | 0 |  | 0
5.1.4 | 50mm Wide Medium Duty | m | 60 |  | 0 |  | 0
5.2 | Horizontal Bends
5.2.1 | 200mm Wide Medium Duty | No | 4 |  | 0 |  | 0
5.2.2 | 150mm Wide Medium Duty | No | 6 |  | 0 |  | 0
5.2.3 | 100mm Wide Medium Duty | No | 4 |  | 0 |  | 0
5.2.4 | 50mm Wide Medium Duty | No | 6 |  | 0 |  | 0
5.3 | T-Piece
5.3.1 | 200mm Wide Medium Duty | No | 2 |  | 0 |  | 0
5.3.2 | 150mm Wide Medium Duty | No | 6 |  | 0 |  | 0
5.3.3 | 100mm Wide Medium Duty | No | 6 |  | 0 |  | 0
5.3.4 | 50mm Wide Medium Duty | No | 4 |  | 0 |  | 0
5.3 | Supply & install galvanised steel trunking c/w snap-on galvanised steel cover, threaded suspension rods & strirrup / saddles, colour identifier bands Red or Blue at 3m intervals & at penetrations.
5.3.1 | P9000 Trunking complete with covers | No | 60 |  | 0 |  | 0
5.3.2 | 90 Degree Elbow Bend | No | 4 |  | 0 |  | 0
5.3.3 | 90 Degree Inside / Outside Bend | No | 2 |  | 0 |  | 0
5.3.4 | T-Piece | No | 4 |  | 0 |  | 0
5.3.5 | P9000 End Cap | No | 6 |  | 0 |  | 0
| Totals to Collection: Bill 4.3 |  |  |  | 0 |  | 0
BoQ 4.4
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 4
ELECTRICAL: POWER INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
6 | WIRING
6.1 | Supply and install PVC insulated single core copper conductors drawn into uPVC Conduit, Powerskirting and P9000 Trunking measured elsewhere.
0
6.1.1 | 2.5mm2 | m | 4480 |  | 0 |  | 0
6.1.2 | 4.0mm² | m | 2800 |  | 0 |  | 0
0
6.1.3 | 6.0mm² | m | 1200 |  | 0 |  | 0
6.1.4 | 10.0mm² | m | 800 |  | 0 |  | 0
0
6.2 | Supply and install PVC insulated single core copper Earth Wire drawn into uPVC conduit, measured elsewhere.
6.2.1 | 1.5mm2 | m | 3640 |  | 0 |  | 0
6.2.2 | 2.5mm2 | m | 400 |  | 0 |  | 0
6.2.3 | 4mm2 | m | 200 |  | 0 |  | 0
7 | LV CABLES AND TERMINATIONS
Supply, install & connect the following multi-core cable with solid copper conductors as specified:
7.1 | LV Cables
7.1.1 | 4mm² x 4 core | m | 488 |  | 0 |  | 0
7.1.2 | 2.5mm² x 4 core | m | 1280 |  | 0 |  | 0
7.2 | Cable Terminations
7.2.1 | 4mm² x 4 core | No | 12 |  | 0 |  | 0
7.2.2. | 2.5mm² x 4 core | No | 26 |  | 0 |  | 0
8 | EARTH CONDUCTORS AND TERMINATIONS | [5 empty] | 0
0
| Supply, install and connect up the following earth conductors with cables measured above. | [5 empty] | 0
0
8.1 | Earth Conductor
0
8.1.1 | 2.5mm² | m | 488 |  | 0 |  | 0
0
8.1.2 | 1.5mm² | m | 1260 |  | 0 |  | 0
8.2 | Earth Conductor Terminations
8.2.1 | 2.5mm² | No | 12 |  | 0 |  | 0
8.2.2 | 1.5mm² | No | 26 |  | 0 |  | 0
| Totals to Collection: Bill 4.4 |  |  |  | 0 |  | 0
TOTALS BILL 4 |  |  |  |  | 0 |  | 0

## BILL 5
BoQ 5.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 5
ELECTRICAL: TELEPHONE & DATA
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
1 | EXISTING TELEPHONE & DATA INSTALLATION
1.1 | Identify existing Data & Telephone Points : Routing of Point Wiring, Wiring Type & Condition, Number & Location of Outlet Points to Warehouse & Offices Areas based on drawings made available. | No. | 32 |  | 0 |  | 0
[5 empty] | 0 |  | 0
1.2 | Document Data & Telephone Point : DP Box of Origin, Routing of Point Wiring, Wiring Types, Number & Location of Outlet Points to Warehouse & Offices on supplied drawings. | No. | 32 |  | 0 |  | 0
[5 empty] | 0 |  | 0
1.3 | Strip out and remove redundant and damaged Data & Telephone Cabling from wire ways and install draw wires for future use. | No. | 32 |  | 0 |  | 0
[5 empty] | 0 |  | 0
2 | CONDUIT WORK |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
| Supply and install uPVC conduit surface mounted, cast in concrete or chased in brickwork with allowance for wastage, off-cuts, bends, sets, adaptors, etc. (Outlet boxes measured elsewhere). |  |  |  | 0 |  | 0
2.1 | Surface Mounted |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.1.1 | 25mm Dia. | m | 380 |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.1.2 | 32mm Dia. | m | 240 |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.2 | Chased in brickwork |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.2.1 | 25mm Dia | m | 62 |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.2.2 | 32mm Dia. | m | 38 |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.3 | DRAW WIRES |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
2.3.1 | 1,6mm Dia. Galvanised draw wires installed in wire ways (new & existing) above. | m | 720 |  | 0 |  | 0
[5 empty] | 0 |  | 0
3 | TERMINATION BOX OUTLETS |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
Supply & install conduit boxes complete with chasing & Single or Dual module blank cover plates
3.1 | 100x50X50 Flush Mounted | No | 10 |  | 0 |  | 0
[5 empty] | 0 |  | 0
4 | TELKOM DISTRIBUTION BOXES |  |  |  | 0 |  | 0
[5 empty] | 0 |  | 0
Supply & install the following Telkom Standard Termination / Distribution Board
4.1 | 600mm x 600mm x 200mm (IP 65) Enclosure | No | 1 |  | 0 |  | 0
[5 empty] | 0 |  | 0
4.2 | 600mm x 600mm x 16mm wooden backboard complete with 100mm stand off mountings | No | 1 |  | 0 |  | 0
[5 empty] | 0 |  | 0
4.3 | 300A Profile Telephone Enclosure | No |  |  | 0 |  | 0
| Totals to Collection: Bill 5.1 |  |  |  | 0 |  | 0
BoQ 5.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 5
ELECTRICAL: TELEPHONE & DATA
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
5 | NETWORK DISTRIBUTION ROOM
Supply & install the following equipment in the Network Distribution Room, complete with labelling, earthing and all necessary fastening materials, cage nuts, adjustments and fittings to ensure a complete & functional Network Distribution Rack.
5.1 | 19" 20U Floor Standing Rack (600mm x 800mm Depth) with castors & glass door to accommodate Fibre Termination Cassette, Network Switches, Data & Telephone Cabling Terminations. (MODRAC or equal approved in writing by Engineer & Client) | No |  |  | 0 |  | 0
5.2 | 300mm Slack Rack Extension for above Rack | No |  |  | 0 |  | 0
5.3 | 10 Way Metal Power Outlet Rail | No |  |  | 0 |  | 0
5.4 | 4 Way Silent Fan Unit (Complete) | No |  |  | 0 |  | 0
5.5 | Modem Shelf to above Rack | No |  |  | 0 |  | 0
5.6 | 1U Brush Panel | No |  |  | 0 |  | 0
5.7 | 24 Way Patch Panel fitted complete with CAT 6 RJ45 Keystones | No |  |  | 0 |  | 0
5.8 | CAT 6 Patch Lead 2.5m Length | No |  |  | 0 |  | 0
5.9 | CAT 6 Keystone Termination Port Labelling | No |  |  | 0 |  | 0
5.1 | Test CAT 6 field cable including test result printout & certification | No |  |  | 0 |  | 0
5.11 | 50 Way Voice Patch Panel | No |  |  | 0 |  | 0
5.12 | 10 Way Krone Block | No |  |  | 0 |  | 0
5.13 | 10 Pair Telephone Cable | m |  |  | 0 |  | 0
| Totals to Collection: Bill 5.2 |  |  |  | 0 |  | 0
BoQ 5.3
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 5
ELECTRICAL: TELEPHONE & DATA
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
6 | NETWORK FIELD CABLING
Supply & install CAT 6 certified cabling and equipment reticulated in wire ways provided and costed previously.
6.1 | CAT 6 Cable (Solid Conductor) | m |  |  | 0 |  | 0
6.2 | RJ 45 CAT 6 Single Socket Outlet Module | No |  |  | 0 |  | 0
6.3 | RJ 45 CAT 6 Dual Socket Module | No |  |  | 0 |  | 0
6.4 | Terminate CAT 6 Cable to RJ45 Data Outlet | No |  |  | 0 |  | 0
6.5 | Lable CAT 6 Data Outlet | No |  |  | 0 |  | 0
6.6 | CAT 6 Data Flylead (3.0m Length) | No |  |  | 0 | 0 | 0
7 | NETWORK FIELD FIBRE
Supply & install Equipment to Rack & Fibre reticulated in wire ways provided & costed previously.
7.1 | 12 Core OM3 Fibre (Multi-Mode) | m |  |  | 0 |  | 0
7.2 | 24 Port LC Multi-Mode Fibre Patch Panel | No |  |  | 0 |  | 0
7.3 | Multi-Mode Un-Jacketed Fibre Optic Pig Tail | No |  |  | 0 |  | 0
7.4 | Fusion Splice Pig Tail to Fibre Optic Cable | No |  |  | 0 |  | 0
7.5 | LC Multi-Mode Mid-Coupler mounted to Fibre Patch Panel | No |  |  | 0 |  | 0
7.6 | Test Fibre Core with Test Result Print Out | No |  |  | 0 |  | 0
7.7 | Brush Panel | No |  |  | 0 |  | 0
7.8 | LC to LC Fibre Patch Lead | No |  |  | 0 |  | 0
8 | NETWORK DOCUMENTATION
8.1 | Rack Layout Drawing (As Built) | Sets |  |  | 0 |  | 0
8.2 | Copper Test Results (As Built - Bound) | Sets |  |  | 0 |  | 0
8.3 | Fibre Test Results (As Built - Bound) | Sets |  |  | 0 |  | 0
8.4 | Network Certification & Guarantee Documents | Sets |  |  | 0 |  | 0
| Totals to Collection: Bill 5.3 |  |  |  | 0 |  | 0
TOTALS BILL 5 |  |  |  |  | 0 |  | 0

## BILL 6
BoQ 6.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 6
ELECTRICAL: FIRE DETECTION INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
1 | FIRE DETECTION HEAD END
The following actions to be carried out on the Fire Detection Control Panel existing in Customs House & submitted to the Engineer for approval:-
1.1 | List existing Devices to SARS Warehouse & Office Areas with Text Descriptions & Configuration Programming if present (Ziton Planner Download & Submit in printable electronic format) | Sum | 1 |  | 0 |  | 0
1.2 | Audit Test each device existing to SARS Warehouse & Offices Areas & submit itemised device report listing address, room number, test result & if address lable visible & present. | Sum | NIL | NIL |  | NIL
1.3 | Program New Custom Text & Configuration to New Fire Panel as approved by Engineer. | Sum | 1 |  | 0 |  | 0
1.4 | Test & Commission New Field Devices with Engineer present. | Sum | 1 | 0 | 0 |  | 0
1.5 | Analogue Addressable Control Panel 2 - Loop (New Supply & Install) | No | 1 |  | 0 |  | 0
1.6 | 7Ah SLA Battery | No | 2 |  | 0 |  | 0
1.7 | Text & Configuration Programming. | Sum | 1 |  | 0 |  | 0
1.8 | LCD Repeater Panel | No | 2 |  | 0 |  | 0
1.9 | 7Ah SLA Battery | No | 4 |  | 0 |  | 0
1.1 | RS 485 Cable (Dekaron 1.0mm2 2-Pair Instrument Cable Individual & Overall Screened). | m | 180 |  | 0 |  | 0
1.11 | Existing Addressable Point Detectors & Manual Call Points (Strip, Package & Hand to Dept. Public Works : Maintenance Dept.) | No | 74 |  | 0 |  | 0
| Totals to Collection: Bill 6.1 |  |  |  | 0 |  | 0
BQ 6.2
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 6
ELECTRICAL: FIRE DETECTION INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
2 | FIRE DETECTION FIELD DEVICES
Supply and install field devices complete with mounting bases, backboxes, address lables, wiring terminations, crimp on wire end ferrules, heat shrink sleeving and cable markers as necessary.
2.1 | Optical Smoke Detector (Addressable) | No | 86 |  | 0 |  | 0
2.2 | Ionisation Smoke Detector (Addessable) | No | 4 |  | 0 |  | 0
2.3 | Heat Detector (Addressable) | No | 2 |  | 0 |  | 0
2.4 | Manual Call Point Unit (Flush Mounted) with Glass Element, Tamper Cover & Seal. | No | 2 |  | 0 |  | 0
2.5 | Manual Call Point Unit (Surface Mounted) with Glass Element, Tamper Cover & Seal. | No | 8 |  | 0 |  | 0
2.6 | Loop Isolator & Base | No | 10 |  | 0 |  | 0
2.7 | Loop Powered Sounder / Strobe Combination | No | 10 |  | 0 |  | 0
2.8 | Interface Input Unit | No | 2 |  | 0 |  | 0
2.9 | Interface Relay Output Unit | No | 2 |  | 0 |  | 0
2.1 | Addressable Gas Control Unit | No | 1 |  | 0 |  | 0
2.11 | 24V DC 3A Power Supply for GCU | No | 1 |  | 0 |  | 0
2.12 | 12V 7Ah Sealed Lead Acid Battery | No | 2 |  | 0 |  | 0
2.13 | Combination Siren / Strobe 24V DC | No | 1 |  | 0 |  | 0
2.14 | Fire Alarm Bell 24V DC for GCU | No | 1 |  | 0 |  | 0
2.15 | Fire Alarm Strobe 24V DC for GCU | No | 1 |  | 0 |  | 0
2.16 | Intrinsically Safe Isolation Barrier (Conventional Zone) | No | 2 |  | 0 |  | 0
2.17 | Intrinsically Safe Point Detector Isolation Barrier (Addressable / Protocol Translator) | No | 2 |  | 0 |  | 0
2.18 | IP 65 Rated Enclosure suitably sized for Isolation Barrier & Interface (if required) complete with cable glands & DIN Rail. | No | 2 |  | 0 |  | 0
| Totals to Collection: Bill 6.2 |  |  |  | 0 |  | 0
BQ 6.3
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 6
ELECTRICAL: FIRE DETECTION INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
2 | FIRE DETECTION FIELD DEVICES (Continued)
2.19 | IS Rated Optical Smoke Detector (Addressable) | No | 2 |  | 0 |  | 0
2.2 | IS Rated Optical Smoke Detector (Conventional) | No | 2 |  | 0 |  | 0
2.21 | IS Rated Heat Detector (Addressable) | No | 2 |  | 0 |  | 0
2.22 | IS Rated Heat Detector (Conventional) | No | 2 |  | 0 |  | 0
2.23 | DIN Rail Mount Addressable / Conventional Zone Interface Unit. | No | 2 |  | 0 |  | 0
3 | CABLING
Cabling to be drawn into wireways provided:-
3.1 | 1 Pair 1.0mm Stranded PH30 | m | 1800 |  | 0 |  | 0
4 | CONDUIT & WIREWAYS
Supply and install Galvanised Bosal conduit surface mounted or chased in brickwork with allowance for wastage, off-cuts, bends, sets, adaptors, etc. (Galvanised Bosal Outlet boxes measured seperately below).
4.1 | Surface Mounted
4.1.1 | 25mm Dia. | m | 1300 |  | 0 |  | 0
4.2 | Chased in brickwork
4.2.1 | 25mm Dia. | m | 120 |  | 0 |  | 0
4.3 | SUPPLY & INSTALL CONDUIT BOXES
4.3.1 | Round Box, fixed surface for device. | No | 130 |  | 0 |  | 0
4.3.2 | Round Box. Dome Lid & 25mm Sprague Conduit for device installed on ceiling tile | No | 12 |  | 0 |  | 0
4.3.3 | Break Glass Unit Back Box, flush incl. chasing. | No | 10 |  | 0 |  | 0
| Totals to Collection: Bill 6.3 |  |  |  | 0 |  | 0
TOTALS BILL 6 |  |  |  |  | 0 |  | 0

## BILL 7
BoQ 7.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 7
ELECTRICAL: PUBLIC ADDRESS INSTALLATION
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
1 | PUBLIC ADDRESS HEAD END
1.1 | 19" 6U Wall Mount Swing Rack Complete | No | 1
1.2 | Amplifier VM2240 Unit & Rack Brackets | No | 1
1.3 | Speaker Line Surveillance Unit (TOA SV-200M for 5 Zones) | No | 1
1.4 | Message Unit ( TOA EV-200M) | No | 1
1.5 | Remote Microphone Console (RM 200M) | No | 2
1.6 | Power Supply for RM 200M | No | 2
1.7 | Cat 6 STP Cabling for RM 200M | m | 120
2 | PUBLIC ADDRESS FIELD DEVICES
Supply and install field devices complete with mounting bases, backboxes, zone lables, wiring terminations, crimp on wire end ferrules, heat shrink sleeving and cable markers as necessary.
2.1 | Ceiling Flush Mounted Fire Resistant Speaker Complete (TOA PC 1867F) | No | 12 |  | 0 |  | 0
2.2 | Horn Loudspeaker (TOA SC 610) | No | 18 |  | 0 |  | 0
3 | CABLING
Cabling to be drawn into conduit, trunking and wireways provided as follows:-
3.1 | 1 Pair 1.0mm Stranded PH30 | m | 600 |  | 0 |  | 0
3 | CONDUIT & WIREWAYS
Supply and install Galvanised Bosal conduit surface mounted, cast in concrete or chased in brickwork with allowance for wastage, off-cuts, bends, sets, adaptors, etc. (Galvanised Bosal Outlet boxes measured seperately below).
3.1 | Surface Mounted
3.1.1 | 25mm Dia. | m | 640 |  | 0 |  | 0
3.2 | Chased in brickwork
3.2.1 | 25mm Dia. | m | 48 |  | 0 |  | 0
3.3 | SUPPLY & INSTALL CONDUIT BOXES
3.3.1 | Round Box, fixed surface for device. | No | 36 |  | 0 |  | 0
3.3.2 | Dome Lid & 25mm Sprague Conduit for device installed on ceiling tile | No | 6 |  | 0 |  | 0
| Totals to Collection: Bill 7 |  |  |  | 0 |  | 0
TOTALS BILL 7 |  |  |  |  | 0 |  | 0

## BILL 8
BoQ 8.1
SARS WAREHOUSE UPGRADE : CUSTOMS HOUSE, FORESHORE, CAPE TOWN.
BILL NO: 8
ELECTRICAL: ACCESS CONTROL & CCTV SECURITY SYSTEM
|  |  |  | MATERIAL |  | LABOUR
ITEM | DESCRIPTION | UNIT | QTY | RATE | TOTAL | RATE | TOTAL
1 | CONDUIT WORK
Supply & install uPVC conduit with allowance for wastage, off-cuts, bends, sets, adaptors, drawires etc. (Outlet boxes measured elsewhere).
1.1 | Surface Mounted
1.1.1 | 25mm Dia. | m | 340 |  | 0 |  | 0
1.2 | Chased in brickwork
1.2.1 | 25mm Dia | m | 60 |  | 0 |  | 0
2 | DRAW WIRES
2.1 | 1,6mm Dia. Galvanised draw wires installed in conduits measured above. | m | 400 |  | 0 |  | 0
3 | Conduit boxes flush mounted in wall with blank cover plate, including chasing as required
3.1 | 100x50x50 mm | No | 12 |  | 0 |  | 0
3.2 | 100x100x50 mm | No | 4 |  | 0 |  | 0
3.3 | Round Box, fixed surface for device. | No | 10 |  | 0 |  | 0
3.4 | Round Box & 25mm Sprague Conduit (2.5m Length) for device installed on ceiling tile | No | 4 |  | 0 |  | 0
4 | Supply & install galvanised steel trunk c/w steel cover, threaded suspension rods & strirrup / saddles, colour identifier band Yellow at 3m intervals & at penetrations.
5.3.1 | P9000 Trunking | No | 12 |  | 0 |  | 0
5.3.2 | 90 Degree Elbow Bend | No | 2 |  | 0 |  | 0
5.3.3 | 90 Degree Inside / Outside Bend | No | 1 |  | 0 |  | 0
5.3.4 | T-Piece | No | 2 |  | 0 |  | 0
5.3.5 | P9000 End Cap | No | 6 |  | 0 |  | 0
| Totals to Collection: Bill 8.1 |  |  |  | 0 |  | 0
TOTALS BILL 8 |  |  |  |  | 0 |  | 0