SOUTH AFRICAN REVENUE SERVICES (SARS)

PROPOSED GIYANI OFFICE

SPECIFICATION AND SCHEDULES

FOR

PRIME RATED DIESEL GENERATOR PLANT INSTALLATION

SECTION E: SCHEDULE OF INFORMATION & TECHNICAL SPECIFICATION SHEETS

1.	TECHNICAL SPECIFICATION SHEETS

| TENDERER’S OFFER |  |
| --- | --- |
| Product: |  |
| Manufacturer: |  |
| Tenderer to provide detailed information including brochures for the equipment being offered |  |

SCHEDULE OF DIESEL GENERATOR TECHNICAL PARTICULARS

Schedule B: Particulars and guarantees of equipment to be supplied

| Item | Description |  |
| --- | --- | --- |
| 1 | DIESEL ENGINE |  |
| 1.1 | Principal |  |
| 1.1.1 | Number of units required | 1 |
| 1.1.2 | Manufacturer (write name ) |  |
| 1.1.3 | Model number |  |
| 1.1.4 | Type |  |
| 1.1.5 | Two stroke or four stroke |  |
| 1.1.6 | Revolutions at 100% load | r/min |
| 1.1.7 | Number and arrangement of cylinders |  |
| 1.1.8 | Total mass of set on base | kg |
| 1.1.9 | Starting period to full load | s |
| 1.1.10 | Engine run-down time | s |
| 1.1.11 | Fuel consumption under site conditions |  |
|  | a) Full load | /kW.h |
|  | b) ¾ load | /kW.h |
|  | c) ½ load | /kW.h |
| 1.1.12 | Guaranteed power output under site conditions | kW |
| 1.1.13 | Recommended lubricating oil |  |
| 1.1.4 | Power allowance at on-site rating for engine-driven auxiliaries |  |
|  | a) Radiator fan | kW |
|  | b) Others (detail) | kW |
| 1.2 | Mode of Operation (Prime Rated/Continuous) |  |
| 1.3 | Engine Requirements |  |
| 1.3.1 | Operating ratings |  |
|  | a) Net site rating | kW |
|  | b) Standard rating | kW |
| 1.4 | Cooling |  |
| 1.4.1 | Cooling medium |  |
| 1.4.2 | Recommended coolant for closed circuit of engine |  |
| 1.4.3 | Method of cooling, if one method preferred |  |

| 1.4.4 | Is a heating element provided? | Select | Yes | No |
| --- | --- | --- | --- | --- |
|  | if Yes, details of: Power | kW |  |  |
| 1.4.5 | Alternative cold-start heating method |  |  |  |
| 1.5 | Lubrication |  |  |  |
| 1.5.1 | Is a motor driven lubricating oil priming pump to be fitted? | Select | Yes | No |
| 1.5.2 | Is a separate oil cooler provided? | Select | Yes | No |
| 1.5.3 | Is an auxiliary oil heater provided? | Select | Yes | No |
|  | if Yes, power requirements | kW |  |  |
| 1.6 | Aspiration and Cooling Air Intake(s) |  |  |  |
| 1.6.1 | Type of air filter |  |  |  |
| 1.7 | Starting System |  |  |  |
| 1.7.1 | Method of starting |  |  |  |
| 1.8 | Governing |  |  |  |
| 1.8.1 | Governor provided |  |  |  |
| 1.8.2 | Governor class |  |  |  |
| 1.8.3 | Type |  |  |  |
| 1.8.4 | 3 s accuracy |  |  |  |
| 1.8.5 | Regulation: 70% pressure charged |  |  |  |
|  | 100% naturally aspirated |  |  |  |
| 1.8.6 | Long-term accuracy |  |  |  |
| 1.8.7 | Power feedback method | Select | Yes | No |
| 2 | INSTRUMENTATION |  |  |  |
| 2.1 | Engine-driven tachometer r/min | Select | Yes | No |
| 2.2 | Engine temperature gauge °C | Select | Yes | No |
| 2.3 | Fuel oil pressure gauge kPa | Select | Yes | No |
| 2.4 | Lubricating oil pressure gauge kPa | Select | Yes | No |
| 2.5 | Oil temperature gauge °C | Select | Yes | No |
| 2.6 | Starter battery voltage V | Select | Yes | No |
| 2.7 | Running hour meter h | Select | Yes | No |
| 2.8 | Dirty fitter indicator (if applicable) | Select | Yes | No |
| 2.9 | Other instrumentation recommended |  |  |  |

| Item |  | Description |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| 3 | ENGINE CONTROLS |  |  |  |  |  |
| 3.1 | Manual start key/switch |  |  |  |  |  |
| 3.2 | Shutdown in case of fire |  |  |  |  |  |
| 4 | ENGINE LABELLING |  |  |  |  |  |
| 4.1 | Grade of oil |  |  |  |  |  |
| 4.2 | Danger label |  |  |  |  |  |
| 4.3 | Information labels |  |  |  |  |  |
| 4.4 | Rating plates |  |  |  |  |  |
| 5 | ALTERNATOR |  |  |  |  |  |
| 5.1 | Principal |  |  |  |  |  |
| 5.1.1 | Manufacturer |  |  |  |  |  |
| 5.1.2 | Model number |  |  |  |  |  |
| 5.1.3 | Rated output |  | kVA |  |  |  |
| 5.1.4 | Maximum short-circuit current |  | kA |  |  |  |
| 5.1.5 | Guaranteed net continuous site rating |  | kVA |  |  |  |
| 5.1.6 | Power factor at net continuous site rating |  |  |  |  |  |
| 5.1.7 | Time intervals for applying loads |  |  |  |  |  |
| 5.1.8 | Number of phases |  |  |  |  |  |
| 5.1.9 | Phase-to-phase/phase-to-neutral voltage |  | …../….. V |  |  |  |
| 5.1.10 | Range of adjustment of terminal voltage |  | ±………% |  |  |  |
| 5.1.11 | Frequency |  | Hz |  |  |  |
| 5.1.12 | Nominal speed |  | r/min |  |  |  |
| 5.1.13 | Efficiency at unity/0.8 lag power factor |  |  |  |  |  |
|  | a) Full load |  | % |  |  |  |
|  | b) ¾ load |  | % |  |  |  |
|  | c) ½ load |  | % |  |  |  |
|  | d) ¼ load |  | % |  |  |  |
| 5.1.14 | Excitation method |  |  |  |  |  |
|  | a) Excitation voltage range |  | V |  |  |  |
|  | b) Maximum field control current |  | A |  |  |  |
| 5.1.15 | Parallel operation (if required) |  | Select | Yes | No |  |
| 5.1.16 | Neutral earthing method |  |  |  |  |  |
| 5.2 | Alternator Protection |  |  |  |  |  |
| 5.2.1 | Overcurrent and earth fault protection |  |  |  |  |  |
| Item | Description |  |  |  |  |  |
| 5.2.2 | Other protection |  |  |  |  |  |
| 5.3 | Alternator labelling (adjacent to alternator) |  |  |  |  |  |
|  | a) Danger label |  |  |  |  |  |
|  | b) Terminal label and colours |  |  |  |  |  |
|  | c) Information labels |  |  |  |  |  |
|  | d) Rating plates |  |  |  |  |  |
| 5.4 | Transient output variations |  |  |  |  |  |
| 5.4.1 | Maximum voltage drop during a load step of …… kVA |  | % |  |  |  |
|  | Maximum frequency deviation during a load step of ..… kVA |  | % |  |  |  |
| 5.5 | Alternator regulation percentages and current ratings |  |  |  |  |  |
| 5.5.1 | Inherent regulation |  |  |  |  |  |
|  | a) Maximum change of voltage from full load to no load without adjustment of the excitation control |  | % |  |  |  |
| 5.5.2 | Long-term regulation at kVA load |  |  |  |  |  |
|  | a) From zero to stage 1 |  | % |  |  |  |
|  | b) From stage 1 to stage 2 |  | % |  |  |  |
|  | c) From stage 2 to zero |  | % |  |  |  |
| 5.5.3 | Transient regulation |  |  |  |  |  |
|  | a) From zero to stage 1 |  | % |  |  |  |
|  | b) From stage 1 to stage 2 |  | % |  |  |  |
|  | c) From stage 2 to zero |  | % |  |  |  |
| 5.5.4 | Maximum continuous current rating |  |  |  |  |  |
|  | a) At minimum terminal voltage |  | V |  |  |  |
|  | b) At rated terminal voltage |  | V |  |  |  |
|  | c) At maximum terminal voltage |  | V |  |  |  |
| 5.6 | Alternator construction |  |  |  |  |  |
| 5.6.1 | Number of bearings |  |  |  |  |  |
| 5.6.2 | Are there special bearing and lubrication requirements? |  |  |  |  |  |
|  | a) If Yes, details of requirements |  |  |  |  |  |
|  | b) If No, details of bearings offered |  |  |  |  |  |
| 5.6.3 | Alternator cooling |  |  |  |  |  |

| Item | Description |  |  |  |
| --- | --- | --- | --- | --- |
| 5.6.4 | Alternator insulation class |  |  |  |
|  | a) Stator |  |  |  |
|  | b) Rotor |  |  |  |
|  | c) Exciter |  |  |  |
| 6 | MECHANICAL BUILD |  |  |  |
| 6.1 | Base frames |  |  |  |
|  | a) Length | mm |  |  |
|  | b) Width | mm |  |  |
| 6.2 | Equipment mounted on the base frame or separately |  |  |  |
| 6.2.1 | Control cubicle |  |  |  |
| 6.2.2 | Day fuel tank |  |  |  |
| 6.2.3 | Battery for starter motor |  |  |  |
| 6.2.4 | Battery for control circuits |  |  |  |
| 6.2.5 | Other accessories |  |  |  |
| 6.3 | Overall mass of set (for lifting purposes) |  |  |  |
| 6.3.1 | Cable entry positions |  |  |  |
| 6.4 | Coupling method |  |  |  |
| 6.5 | Vibration damping mounting details |  |  |  |
| 6.6 | Enclosure (if applicable) |  |  |  |
| 6.6.1 | Sound-reducing |  |  |  |
| 6.6.2 | Weather protection |  |  |  |
| 6.6.3 | Material used for soundproofing |  |  |  |
| 6.6.4 | Corrosion-protected material used for the enclosure |  |  |  |
| 6.6.5 | Internal illumination details |  |  |  |
| 6.6.6 | Overall dimensions and mass | mm |  |  |
|  | a) Length | mm |  |  |
|  | b) Width | mm |  |  |
|  | c) Height | mm |  |  |
|  | d) Mass | kg |  |  |
|  | e) Layout of proposed construction supplied |  |  |  |

| Item | Description |  |
| --- | --- | --- |
| 7 | EXHAUST SYSTEM |  |
| 7.1 | Principal |  |
| 7.1.1 | Maximum flow resistance of exhaust system | kPa |
| 7.1.2 | Exhaust line diameter | mm |
| 7.1.3 | Maximum outlet noise level | dBa |
|  | At | m |
| 7.1.4 | Silencer details |  |
|  | a) Manufacturer |  |
|  | b) Type/model number |  |
|  | c) Diameter | mm |
|  | d) Length | mm |
|  | e) Mass | kg |
| 7.2 | Materials |  |
|  | Exhaust line material |  |
|  | Details of expansion bellows |  |
|  | Lagging |  |
|  | Type of lagging offered |  |
|  | Thermal capabilities of lagging offered |  |
| 8 | SWITCHGEAR |  |
| 8.1 | Switchgear equipment |  |
|  | Equipment to be supplied |  |
| 8.1.1 | Voltmeter |  |
| 8.1.2 | Frequency meter |  |
| 8.1.3 | Maximum demand ammeters |  |
| 8.1.4 | kW meter |  |
| 8.1.5 | Battery voltmeter |  |
| 8.1.6 | Battery ammeter |  |
| 8.1.7 | Mains isolator |  |
| 8.1.8 | Alternator circuit breaker, details |  |
| 8.1.9 | Changeover circuit breaker or contactor |  |
| 8.1.10 | Cable termination terminals |  |
| 8.1.11 | Neutral and earth bar |  |
| 8.1.12 | Other equipment deemed necessary or recommended |  |

| Item | Description |  |
| --- | --- | --- |
| 9 | CONTROL PANEL AND SYSTEM |  |
| 9.1 | Mechanical construction |  |
| 9.1.1 | Panel height | mm |
| 9.2 | Protection alarms and indications |  |
| 9.2.1 | Alarm system, Principal requirements |  |
|  | a) Type of display offered |  |
|  | b) Remote control and indication alarm system |  |
| 9.2.2 | Engine alarms |  |
|  | a) Low oil pressure |  |
|  | b) High engine temperature |  |
|  | c) High bearing temperature |  |
|  | d) Low coolant/water level |  |
|  | e) Engine overspeed |  |
|  | f) Engine start failure |  |
|  | h) Engine running |  |
|  | i) Day fuel tank low |  |
|  | j) Engine management system |  |
|  | k) Other alarm (including low battery voltage) |  |
| 9.2.3 | Alternator alarms |  |
|  | a) Overload |  |
|  | b) High winding temperature |  |
|  | c) High output voltage |  |
|  | d) Low output voltage |  |
|  | e) Phase unbalance |  |
|  | f) High/low frequency |  |
|  | g) Earth fault |  |
|  | h) High bearing temperature |  |
|  | i) Unbalanced load |  |
|  | j) Reverse power |  |
| 9.2.4 | Principal |  |
|  | a) Battery charger failure |  |
|  | b) DC fail |  |
|  | c) Mains fail |  |
|  | d) Fire valve(s) operated |  |
|  | e) Protection trip |  |
|  | f) Protection off/normal |  |

| Item | Description |  |  |  |
| --- | --- | --- | --- | --- |
|  | g) Alarm system failure |  |  |  |
| 9.2.5 | Engine alarms, indications and controls: recommendations |  |  |  |
| 9.2.6 | Alternator alarms, indications and controls: recommendations |  |  |  |
| 10 | CONTROL AND TIMERS FOR PRIME RATED SETS |  |  |  |
| 10.1 | Mains fail |  |  |  |
| 10.2 | Changeover delay timer range | …. to …… s |  |  |
| 10.3 | Off-load run timer range | s |  |  |
| 10.4 | On-load run timer range | s |  |  |
| 11 | BATTERIES AND BATTERY CHARGER |  |  |  |
| 11.1 | Batteries |  |  |  |
| 11.1.1 | Starter battery |  |  |  |
|  | a) Type |  |  |  |
|  | b) Manufacturer |  |  |  |
|  | c) Voltage |  |  |  |
|  | d) Capacity | V |  |  |
|  | e) Location | Ah |  |  |
| 14.1.2 | Control and alarm batteries |  |  |  |
|  | a) Type |  |  |  |
|  | b) Manufacturer |  |  |  |
|  | c) Voltage |  |  |  |
|  | d) Capacity | V |  |  |
|  | e) Location | Ah |  |  |
| 11.1.3 | Other battery (if required) |  |  |  |
|  | a) Type |  |  |  |
|  | b) Manufacturer | V |  |  |
|  | c) Voltage | Ah |  |  |
|  | d) Capacity |  |  |  |
|  | e) Location |  |  |  |
|  | f) Purpose |  |  |  |
| 11.1.4 | Battery charger |  |  |  |
| 12 | EARTHING |  |  |  |
| 12.1 | Alternator neutral earthing | Select | Yes | No |
| 12.2 | Battery earthing |  |  |  |
| 12.2.1 | Is negative pole earthed to frame? |  |  |  |

| Item | Description |  |  |  |
| --- | --- | --- | --- | --- |
| 12.3 | Is bypass earthing of bearings recommended and provided? |  |  |  |
| 13 | CORROSION PROTECTION AND FINISH |  |  |  |
| 13.1 | Final colour of finishes |  |  |  |
| 13.1.1 | Engine |  |  |  |
| 13.1.2 | Alternator |  |  |  |
| 13.1.3 | Frame |  |  |  |
| 13.1.4 | Enclosure (if applicable) |  |  |  |
| 17.1.5 | LV switchgear |  |  |  |
| 13.1.6 | Control panels |  |  |  |
| 13.1.7 | Other |  |  |  |
| 14 | FIRE PROTECTION |  |  |  |
| 14.1 | Fire dampers: |  |  |  |
| 14.1.1 | Intake | Select | Yes | No |
| 14.1.2 | Exhaust | Select | Yes | No |
| 14.2 | Other fire prevention/control methods |  |  |  |
| 15 | SPARES AND SPECIAL TOOLS |  |  |  |
| 15.1 | Confirmation that all spares will be available for ten years from equipment delivery |  |  |  |
| 16 | TESTS |  |  |  |
| 16.1 | Type tests certificates for |  |  |  |
| 16.1.1 | Diesel engine | Select | Yes | No |
| 16.1.2 | Alternator | Select | Yes | No |
| 16.1.3 | Switchgear | Select | Yes | No |
| 16.1.4 | Control equipment | Select | Yes | No |
| 16.1.5 | Alarm equipment | Select | Yes | No |
| 16.2 | Operational works test | Select | Yes | No |
| 16.3 | Site tests |  |  |  |
| 16.3.1 | Noise level requirements | Select | Yes | No |
| 16.3.2 | Operational | Select | Yes | No |
| 16.3.3 | Load banks | Select | Yes | No |
| 16.4 | Special tests: Infrared scan | Select | Yes | No |

| Item | Description |  |  |  |
| --- | --- | --- | --- | --- |
| 17 | MARKING/LABELLING/DOCUMENTATION |  |  |  |
| 17.1 | Labelling |  |  |  |
| 17.1.1 | Are labels language or pictorial type? |  |  |  |
| 17.2 | Documentation |  |  |  |
| 17.2.1 | Number of copies of O&M Manual |  |  |  |
| 17.2.2 | Number of copies of works test certificates to be issued at testing phase pre installation |  |  |  |
| 18 | Original Equipment Manufacturer (OEM) |  |  |  |
| 18.1 | Are you an accredited distributor? | Select | Yes | No |
| 18.2 | If yes ,please the letter from OEM | Is the letter attached? | Yes | No |

SCHEDULE OF RECOMMENDED PARTS AND SPARES

| ITEM | DESCRIPTION | CATALOGUE PART NO |
| --- | --- | --- |
| 1 | ENGINE PARTS: |  |
| 2 | ALTERNATOR PARTS: |  |
| 3 | AUXILLIARIES: |  |
| 4 | OTHER: |  |

SCHEDULE OF RECOMMENDED TOOLS

| ITEM | DESCRIPTION | CATALOGUE PART NO |
| --- | --- | --- |
| 1 | ENGINE: |  |
| 2 | ALTERNATOR: |  |
| 3 | AUXILLIARIES: |  |
| 4 | OTHER: |  |