### ELECTRICAL SPECIFICATION FOR

### SARS OFFICES: LE HAE LA SARS, PRETORIA

- ELECTRICAL REFUBISHMENT

INSTALLATION DETAILS: PART 3

TABLE OF CONTENTS

DESCRIPTION					                                                  PAGE NO.

1.	TYPE OF CONTRACT	2

2.	contract WORK	2

3.	VALUE ADDED TAX (VAT)	2

4.	CONTRACT PRICE ADJUSTMENT	2

5.	INFORMATION	2

7.	NOTICES	2

The Contractor shall issue all notices and make the necessary arrangements with Supply Authorities and other authorities as may be required with respect to the installation. The Contractor will be held responsible for damage to any existing services brought to his attention by the relevant authorities and he will be responsible for the cost of repairs.	2

8.	ELECTRICAL EQUIPMENT	2

All equipment and fittings supplied must be in accordance with the SARS quality specification, suitable for the relevant supply voltage, and frequency and must be approved by SARS’s representative.	2

9.	DRAWINGS	2

10.	BALANCING OF LOAD	2

11.	SERVICE CONDITIONS	3

12.	SWITCHES AND SOCKET OUTLETS	3

13.	LIGHT FITTINGS AND LAMPS	3

14.	EARTHING AND BONDING	3

15.	WORK SEQUENCE	3

16.	SUPPLY OF MATERIAL	3

17.	MAINTENANCE OF ELECTRICAL SUPPLY	3

18.	EXTENT OF WORK	3

19.	SITE INSPECTION	3

20.	MAKING GOOD	3

# 1.	TYPE OF CONTRACT

(a)	The successful Bidder shall be the Main Contractor and will be responsible for sub-contractors (Builders).

# 2.	contract WORK

(a)	The installation shall be carried out entirely by the Electrical Contractor’s own staff and shall not in any way be sub-let, except for any building related works where only suitable artisans will be allowed..

# 3.	VALUE ADDED TAX (VAT)

(a)	The Total Tender Price must include VAT.

(b)	All rates, provisional sums etc in the Bill of Quantities must be net (i.e. excluding VAT)

# 4.	CONTRACT PRICE ADJUSTMENT

No Contract Price Adjustment of whatever nature, except for the reduction or increase in VAT rate, shall be applicable to this contract. The Bidder shall therefore make provision in his bid price for possible fluctuations in price.

# 5.	INFORMATION

(a)	The Bidder’s attention is drawn to the fact that if the information schedules in this specification are not completed in full, his Bid will be disqualified.

### 6.	CABLE SLEEVE PIPES

- The ends of all sleeves shall be sealed with a non-hardening watertight compound after the installation of cables.  All sleeves intended for future use shall likewise be sealed.

# 7.	NOTICES

# The Contractor shall issue all notices and make the necessary arrangements with Supply Authorities and other authorities as may be required with respect to the installation. The Contractor will be held responsible for damage to any existing services brought to his attention by the relevant authorities and he will be responsible for the cost of repairs.

# 8.	ELECTRICAL EQUIPMENT

# All equipment and fittings supplied must be in accordance with the SARS quality specification, suitable for the relevant supply voltage, and frequency and must be approved by SARS’s representative.

# 9.	DRAWINGS

The drawings generally show the scope and extent of the proposed work and shall not be held as showing every minute detail of the work to be executed.

The position of power points, switches and light points that may be influenced by built-in furniture must be established on site, prior to these items being built in.

# 10.	BALANCING OF LOAD

The Contractor is required to balance the load as equally as possible over the multiphase supply.

# 11.	SERVICE CONDITIONS

All plant shall be designed for the climatic conditions appertaining to the service.

# 12.	SWITCHES AND SOCKET OUTLETS

The installation of switches and socket outlets must conform to section B7 of Part 2 of this specification.

# 13.	LIGHT FITTINGS AND LAMPS

The installation and mounting of luminaires must conform with section B7 of Part 2 of this specification.

All fittings to be supplied by the Contractor shall have the approval of SARS.

# 14.	EARTHING AND BONDING

The Contractor will be responsible for all earthing and bonding of the building and installation.  The earthing and bonding is to be carried out strictly as described in section B11 of Part 2 of this specification and to the satisfaction of SARS’s representative.

# 15.	WORK SEQUENCE

The sequence, in which the work must be carried out must be established with the Engineer and the Occupants of the Building. The Building will be occupied and normal activities must, at all times continue. Provision for after hours working and cleaning of offices and also ensure there is sufficient power and lights to ensure normal working activity.

# 16.	SUPPLY OF MATERIAL

The Contractor shall supply and install all material or equipment.

# 17.	MAINTENANCE OF ELECTRICAL SUPPLY

All interruptions of the electrical supply that may be necessary for the execution of the work, will be subject to prior arrangement between the Contractor and the user Department and SARS’s representative.

# 18.	EXTENT OF WORK

The work covered by this contract comprises the complete electrical installation, in working order, as shown on the drawings and as per this specification, including the supply and installation of all fittings.

# 19.	SITE INSPECTION

Prospective Bidders are advised to visit the site and thoroughly acquaint themselves with the nature and the extent of the works.

# 20.	MAKING GOOD

The Electrical contractor will be responsible for keeping the site clean and tidy and shall remove all litter and rubbish resulting from the construction of the electrical works and must make good all the positions of existing equipment to the satisfaction of the Engineer.

21.	SCOPE OF WORK

The scope of work is to make good all the sub-standard electrical installations at Le Hae La SARS Office block in Pretoria and issue a Certificate of Compliance for the Office Block as detailed in the Bill of Quantities.