## Budgetary Allowance
SARS DURBAN - NEW GENERATOR INSTALLATION
ADDENDUM
TENDER VALUE
ITEM | DESCRIPTION | UNIT | QTY | RATE | AMOUNT
1 | NOTE
These quantities listed below, to be added to the respective items in Bill 2.
1.1 | Bill 2; Item 2.7
Allow a distance of 65m between the filler point and the 32 000L bulk diesel tank.
1.2 | Bill 2; Item 2.8
Allow a distance of 60m between the day tank on the mezzanine and the 32 000L bulk diesel tank.
2 | Existing 800 kVA Generators
2.1 | Disconnect and remove existing 800kVA generator located in basement level -1, including rigging | Item | 1
2.2 | Disconnect and remove existing 800 kVA generator located in basement level -2, including rigging. | Item | 1
2.3 | The 2x800 kVA generators to be loaded and transported to SARS Alberton Campus, including offloading. | Item | 1
3 | Existing 325kVA
3.1 | The existing 325KVA to be disconnected only. The landlord will remove this unit. | Item | 1
TOTAL FOR ADDENDUM (Items 2&3) CARRIED TO TENDER SUMMARY